| FT-DFIE10H130 |  |  |
| --- | --- | --- |
| Image Sensor: | ¦ | 1.3MP CMOS Image Sensor |
| Signal System: | ¦ | PAL ¦ NTSC |
| Effective Pixels: | ¦ | 1280(H) × 960(V) |
| Min. Illumination: | ¦ | 0.1 Lux @ (F1.2, AGC ON) 0.3 Lux @ (F2.3, AGC ON) |
| Shutter Time: | ¦ | 1/25(1/30) s to 1/10,000 s |
| Lens: | ¦ | 2.8mm, 3.6mm, 6mm optional |
| Lens Mount: | ¦ | M12 |
| Adjustment Range: | ¦ | Pan: 0 - 360°, Tilt: 0 - 75°, Rotation: 0 - 360° |
| Day& Night: | ¦ | IR cut filter with auto switch |
| Video Frame Rate: | ¦ | PAL: 960P@25fp NTSC: 960P@30fps |
| HD Video Output: | ¦ | AHD ¦ TVI ¦ CVI ¦ CVBS Output Optional |
| Synchronization: | ¦ | Internal Synchronization |
| S/N Ratio: | ¦ | More than 62 dB |
| Up the Coax: | ¦ | Support |
| Operating Conditions: | ¦ | -20 °C - 60 °C (-20 °F - 140 °F) Humidity 90% or less (non-condensing) |
| Power Supply: | ¦ | 12 VDC±15% |
| Power Consumption: | ¦ | Max. 4W |
| IR Range: | ¦ | Up to 10 m |
| Dimension: | ¦ | ￠59 x 55(H) mm |
| Weight: | ¦ | 480g |