FT-A300DZIT30

| Camera |  |  |
| --- | --- | --- |
| Image Sensor: | ¦ | 3MP Progressive Scan CMOS C |
| Signal System: | ¦ | PAL/NTSC |
| Lens: | ¦ | 2.8-12mm Manual Zoom Lens |
| Lens Mount: | ¦ | M12 |
| Day& Night: | ¦ | IR cut filter with auto switch |
| Digital noise reduction: | ¦ | 3D DNR |
| Compression Standard |  |  |
| Video Compression: | ¦ | H.265/MJPEG |
| Video bit rate | ¦ | 32Kbps~8Mbps |
| Triple Streams: | ¦ | YES |
| Image |  |  |
| Max. Image Resolution: | ¦ | 2560x1440 |
| Frame Rate: | ¦ | 50 Hz: 12 fps (2560 x 1440) 60 Hz: 15 fps (2560 x 1440) |
| Sub Stream: | ¦ | 50 Hz: 25 fps(1920 x 1080) 60 Hz: 30 fps(1920 x 1080) |
| Network |  |  |
| Protocols: | ¦ | Line Crossing, Intrusion Detection, Motion detection, Dynamic analysis, Tampering alarm, Network disconnect , IP address conflict, Storage exception |
| Protocols: | ¦ | TCP/IP,HTTP,HTTPS,FTP,DHCP,DNS,DDNS,RTP,RTSP, RTCP, NTP,UPnP,SMTP,IPv6, |
| General Function: | ¦ | Anti-Flicker, heartbeat, mirror, password protection, privacy mask, Watermark, IP address filtering |
| System Compatibility: | ¦ | ONVIF (Profile S, Profile G),ISAPI |
| General |  |  |
| Operating Conditions: | ¦ | -30 °C ~ 60 °C (-22 °F ~ 140 °F) Humidity 95% or less (non-condensing) |
| Power Supply: | ¦ | 12 VDC ± 25% |
| Weather Proof: | ¦ | IP65 |
| IR Range: | ¦ | Up to 30m |
| Dimensions: | ¦ | 131 x 93(H)mm |
| Weight: | ¦ | 900g |